## Sheet1
|  | Supply Fan ON/OFF | Cooling Coil Valve %open | Cold Deck Temperature | Discharger Temperature | Exhaust Fans ON/OFF | Hot Deck Temperature | Mixed Air Damper % open | Mixed Air Temperature | Pre-Heat Coil Discharger Temperature | Pre-Heat Valve % Open | Return Air Temperature | Re-Heat Coil Discharger Temperature | Re-Heat Coil Valve % Open | Supply fan VFD speed %
AHU01 | Overall | S01SAF | S01CCO |  | S01DAT | S01EFCAWA | [8 empty] | S01SFSPD
| 0:05 | 11:52 | 0:15 |  | 0:15 | 12:06 | [8 empty] | 0:15 | 14:59
AHU02 | Overall | S2 | S2CCV |  | S2DAT | S2E2 |  | S2MAD | S2MAT | S2PHT | S2PHV |  | S2RH1T/2T | S2R1V/2V
| 0:02 | 9:49 | 0:15 |  | 0:15 | 12:00 |  | 0:15 | 0:15 | 0:15 | 0:15 |  | 0:15 | 0:15 |  | 14:59
AHU03 | Overall | S3 | S3CCV |  | S3DAT |  |  | S3MAD | S3MAT | S3PHT | S3PHV | S3RAT | S3RH1T/2T | S3R1V/2V
| 0:01 | 9:50 | 0:15 |  | 0:15 |  |  | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 |  | 14:59
AHU05 | Overall | S5 | S5CCV |  | S5DAT |  |  |  |  | S5PHT | S5PH1V/2V |  |  | S5RHV
| 0:14 | 7:03 | 0:15 |  | 0:15 |  |  |  |  | 0:15 | 0:15 |  |  | 0:15 |  | 14:53
AHU06 | Overall | S6SAF | S6CCV | S6CDT |  | S6E1 | S6HDT | S6MAD | S6MAT | S6PHT | S6PHV | S6RAT |  | S6RHV | S06SFVFD
| 0:14 | 6:40 | 0:15 | 0:15 |  | 9:38 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 |  | 0:15 | 0:15 | 14:53
AHU07 | Overall | S7 | S7CCV | S7CDT |  | S7E3 | S7HDT | S7MAD | S7MAT |  |  | S7RAT |  | S7RHV
| 0:02 | 9:42 | 0:15 | 0:15 |  | 11:12 | 0:15 | 0:15 | 0:15 |  |  | 0:15 |  | 0:15 |  | 14:59
AHU08 | Overall | S8 | S8CCV | S8CDT |  | S8E6 | S8HDT | S8MAD | S8MAT | S8PHT | S8PHV | S8RAT |  | S8RHV
| 0:02 | 10:34 | 0:15 | 0:15 |  | 10:59 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 |  | 0:15 |  | 14:59
AHU10 | Overall | S10 | S10CCV |  | S10DAT | S10E7 |  | S10MAD | S10MAT | S10PHT | S10PHV | S10RAT | S10RH1T/2T | S10R1V/2V
| 0:01 | 10:15 | 0:15 |  | 0:15 | 10:51 |  | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 |  | 14:59
AHU11 | Overall | S11 | S11CCV |  | S11DAT |  |  | S11MAD | S11MAT | S11PHT | S11PHV |  | S11RH1T/2T | S11R1V/2V
| 0:02 | 9:50 | 0:15 |  | 0:15 |  |  | 0:15 | 0:15 | 0:15 | 0:15 |  | 0:15 | 0:15 |  | 14:59
AHU12 | Overall | S12 | S12CCV |  | S12DAT | S12EF1 |  | S12MAD | S12MAT |  | S12PHV | S12RAT
| 0:02 | 9:37 | 0:15 |  | 0:15 | 9:36 |  | 0:15 | 0:15 |  | 0:15 | 0:15 |  |  |  | 14:59
AHU13 | Overall | S13 | S13CCV | S13CDT |  | S13E8 | S13HDT | S13MAD | S13MAT |  |  | S13RAT
| 0:02 | 10:36 | 0:15 | 0:15 |  | 9:43 | 0:15 | 0:15 | 0:15 |  |  | 0:15 |  |  |  | 15:03
AHU14 | Overall | S14 | S14CCV | S14CDT |  | S14E13 | S14HDT | S14MAD | S14MAT | S14PHT | S14PHV | S14RAT |  | S14RHV | S14SVD
| 0:01 | 9:45 | 0:15 | 0:15 |  | 9:36 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 |  | 0:15 | 0:15 | 14:59
AHU15 | Overall |  | S15CCV |  | S15DAT | S15E15 |  | S15MAD | S15MAT | S15PHT | S15PHV | S15RAT | S15RH1T/2T | S15R1V/2V
| 0:01 |  | 0:15 |  | 0:15 | 12:11 |  | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 |  | 14:59
AHU16 | Overall |  | S16CCV |  |  |  |  | S16MAD | S16MAT | S16PHT | S16PHV |  | S16RH1T/2T | S16R1V/2V | S16SFVFD:INPUT
| 0:01 |  | 0:15 |  |  |  |  | 0:15 | 0:15 | 0:15 | 0:15 |  | 0:15 | 0:15 | 0:15 | 14:59
AHU17 | Overall | S17 | S17CCV |  |  |  |  | S17MAD | S17MAT |  | S17PHV | S17RAT |  |  | S17SVD
| 0:01 | 8:12 | 0:15 |  |  |  |  | 0:15 | 0:15 |  | 0:15 | 0:15 |  |  | 0:30 | 14:59
AHU18 | Overall | S18 | S18CCV | S18CDT |  | S18E23 | S18HDT | S18MAD | S18MAT | S18PHT | S18PHV | S18RAT |  | S18RHV | S18SVD
| 0:01 | 9:49 | 0:15 | 0:15 |  | 2:03 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 |  | 0:15 | 0:15 | 14:59
AHU19 | Overall |  | S19CCV |  | S19DAT | S19E21 |  | S19MAD | S19MAT | S19PHT | S19PHV | S19RAT | S19RH1T/2T | S19R1V/2V | S19SFVFD
| 0:01 |  | 0:15 |  | 0:15 | 12:06 |  | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 | 0:15 | 14:59
AHU20 | Overall |  | S20CCV |  | S20DAT |  |  | S20MAD | S20MAT | S20PHT | S20PHV |  | S20RH1T/2T | S20R1V/2V | S20SFVFD
| 0:02 |  | 0:16 |  | 0:16 |  |  | 0:16 | 0:16 | 0:16 | 0:16 |  | 0:16 | 0:16 | 0:15 | 15:33
CHW | Overall | CWRT | CWST | C1/C2/C3capacity
| 0:04 | [14 empty] | 14:59
RTU | Overall | AV_7 | CMP1 | SAT | SF | HS1 | RMT
| 0:12 | 0:15 | 2:41 | 0:15 | 6:46 | 1:29 | 0:15 | [8 empty] | 15:17